## Plate 2 - Sheet1
Software Version | 3.10.06
Experiment File Path: | C:\Users\Lauflab\Desktop\Synergy experiments\lumine_260122_112815.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\lumine.prt
Plate Number | Plate 2
Date | 2026-01-22
Time | 11:30
Reader Type: | Synergy H1
Reader Serial Number: | 2202013B
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 white opaque (Use plate lid)
Eject plate on completion
Shake | Orbital: 0:05 (MM:SS)
Frequency: 282 cpm (3 mm)
Set Temperature | Setpoint 22°C
Read | Luminescence Endpoint
Full Plate
Integration Time: 0:01.00 (MM:SS.ss)
Filter Set 1
Emission: Full light
Optics: Top, Gain: 255
Read Speed: Normal, Delay: 100 msec
Extended Dynamic Range
Read Height: (auto)
Results
Actual Temperature: | 23.3
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 56 | 393 | 1042 | 431 | 904 | 830 | 873 | 1074 | 377 | 492 | 160 | 348 | Lum
| B | 592 | 150 | 480 | 1277 | 744 | 462 | 84 | 267 | 347 | 229 | 404 | 390 | Lum
| C | 287 | 862 | 672 | 171 | 127 | 363 | 198 | 472 | 1244 | 103 | 429 | 372 | Lum
| D | 10 | 598 | 274 | 379 | 283 | 455 | 435 | 219 | 295 | 191 | 1252 | 588 | Lum
| E | 410 | 1126 | 673 | 1121 | 187 | 161 | 446 | 99 | 921 | 16 | 415 | 318 | Lum
| F | 540 | 187 | 24 | 1032 | 1636 | 1277 | 50 | 96 | 100 | 413 | 1971 | 58 | Lum
| G | 403 | 138 | 430 | 542 | 514 | 628 | 291 | 189 | 366 | 836 | 118 | 424 | Lum
| H | 151 | 915 | 541 | 803 | 414 | 996 | 70 | 2598 | 1179 | 1132 | 540 | 174 | Lum