## Plate 4 - Sheet1
Software Version | 3.10.06
Experiment File Path: | C:\Users\Lauflab\Desktop\Synergy experiments\lumine_260122_112815.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\lumine.prt
Plate Number | Plate 4
Date | 2026-01-22
Time | 12:31
Reader Type: | Synergy H1
Reader Serial Number: | 2202013B
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 white opaque (Use plate lid)
Eject plate on completion
Shake | Orbital: 0:05 (MM:SS)
Frequency: 282 cpm (3 mm)
Set Temperature | Setpoint 22°C
Read | Luminescence Endpoint
Full Plate
Integration Time: 0:01.00 (MM:SS.ss)
Filter Set 1
Emission: Full light
Optics: Top, Gain: 255
Read Speed: Normal, Delay: 100 msec
Extended Dynamic Range
Read Height: (auto)
Results
Actual Temperature: | 23.6
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 248 | 432 | 267 | 544 | 549 | 93 | 72 | 503 | 700 | 205 | 357 | 1106 | Lum
| B | 872 | 3431 | 5724 | 6266 | 8538 | 83 | 1408 | 3626 | 5267 | 8889 | 127 | 995 | Lum
| C | 530 | 461 | 2035 | 228 | 762 | 51 | 1130 | 381 | 1455 | 1462 | 16 | 153 | Lum
| D | 150 | 2520 | 3246 | 4973 | 3008 | 102 | 5250 | 1810 | 2073 | 4490 | 349 | 316 | Lum
| E | 215 | 5857 | 4426 | 4661 | 2429 | 329 | 5557 | 5698 | 2083 | 4937 | 512 | 538 | Lum
| F | 942 | 3643 | 3267 | 1750 | 4609 | 326 | 3896 | 2811 | 3795 | 3342 | 108 | 650 | Lum
| G | 261 | 6624 | 7871 | 4812 | 5440 | 580 | 5316 | 4160 | 3379 | 10018 | 870 | 174 | Lum
| H | 121 | 976 | 214 | 4 | 316 | 228 | 292 | 450 | 695 | 1195 | 287 | 282 | Lum
[5 empty] | 2mM | blank
|  |  | nt | 5989.75 | 4797.5 | 83
|  |  | xpo1 | 871.5 | 1107 | 51
|  |  | nt | 3436.75 | 3405.75 | 102
|  |  | ciao | 4343.25 | 4568.75 | 329
|  |  | fam | 3317.25 | 3461 | 326
|  |  | mms | 6186.75 | 5718.25 | 580