## Plate 6 - Sheet1
Software Version | 3.10.06
Experiment File Path: | C:\Users\Lauflab\Desktop\Synergy experiments\lumine_260122_112815.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\lumine.prt
Plate Number | Plate 6
Date | 2026-01-22
Time | 13:30
Reader Type: | Synergy H1
Reader Serial Number: | 2202013B
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 white opaque (Use plate lid)
Eject plate on completion
Shake | Orbital: 0:05 (MM:SS)
Frequency: 282 cpm (3 mm)
Set Temperature | Setpoint 22°C
Read | Luminescence Endpoint
Full Plate
Integration Time: 0:01.00 (MM:SS.ss)
Filter Set 1
Emission: Full light
Optics: Top, Gain: 255
Read Speed: Normal, Delay: 100 msec
Extended Dynamic Range
Read Height: (auto)
Results
Actual Temperature: | 23.5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 87 | 358 | 594 | 311 | 275 | 125 | 1769 | 375 | 357 | 111 | 98 | 417 | Lum
| B | 1057 | 25632 | 52705 | 41276 | 66395 | 1172 | 8162 | 27714 | 31261 | 56538 | 127 | 856 | Lum
| C | 46 | 2767 | 2633 | 3629 | 4904 | 493 | 4737 | 3388 | 4112 | 8416 | 499 | 274 | Lum
| D | 656 | 20728 | 16561 | 22125 | 19292 | 1272 | 24321 | 12076 | 10540 | 20755 | 631 | 385 | Lum
| E | 223 | 31074 | 28881 | 23119 | 15637 | 266 | 25017 | 23540 | 19917 | 26114 | 217 | 42 | Lum
| F | 772 | 24591 | 25696 | 10841 | 25484 | 341 | 17025 | 21872 | 25006 | 36534 | 112 | 204 | Lum
| G | 945 | 51727 | 57447 | 32060 | 48659 | 1100 | 50618 | 32674 | 32757 | 58832 | 167 | 82 | Lum
| H | 78 | 740 | 358 | 242 | 486 | 108 | 324 | 735 | 368 | 1018 | 214 | 251 | Lum
blank
|  |  | nt | 46502 | 30918.75 | 1172
|  |  | xpo1 | 3483.25 | 5163.25 | 493
|  |  | nt | 19676.5 | 16923 | 1272 | 1 | 1
|  |  | ciao | 24677.75 | 23647 | 266 | 1.2542 | 1.3973
|  |  | fam | 21653 | 25109.25 | 341 | 1.1004 | 1.4837
|  |  | mms | 47473.25 | 43720.25 | 1100 | 2.4127 | 2.5835