## Plate 5 - Sheet1
Software Version | 3.10.06
Experiment File Path: | C:\Users\Lauflab\Desktop\Synergy experiments\lumine_260122_144358.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\lumine.prt
Plate Number | Plate 5
Date | 2026-01-22
Time | 15:33
Reader Type: | Synergy H1
Reader Serial Number: | 2202013B
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 white opaque (Use plate lid)
Eject plate on completion
Shake | Orbital: 0:05 (MM:SS)
Frequency: 282 cpm (3 mm)
Set Temperature | Setpoint 22°C
Read | Luminescence Endpoint
Full Plate
Integration Time: 0:01.00 (MM:SS.ss)
Filter Set 1
Emission: Full light
Optics: Top, Gain: 255
Read Speed: Normal, Delay: 100 msec
Extended Dynamic Range
Read Height: (auto)
Results
Actual Temperature: | 23.5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1221 | 151 | 690 | 236 | 341 | 297 | 358 | 273 | 982 | 1133 | 17 | 286 | Lum
| B | 162 | 83001 | 310330 | 180811 | 266817 | 408 | 15707 | 96971 | 146001 | 170179 | 714 | 252 | Lum
| C | 457 | 11245 | 12319 | 22107 | 36027 | 559 | 13266 | 8444 | 11795 | 26301 | 153 | 128 | Lum
| D | 348 | 95070 | 76776 | 121495 | 92640 | 366 | 87227 | 51378 | 43484 | 56321 | 67 | 389 | Lum
| E | 564 | 163725 | 111078 | 104550 | 74172 | 359 | 65223 | 77150 | 53695 | 71932 | 270 | 118 | Lum
| F | 193 | 78024 | 102732 | 50082 | 105314 | 1116 | 70309 | 62090 | 64797 | 145896 | 120 | 135 | Lum
| G | 225 | 269124 | 220469 | 185392 | 225556 | 897 | 144525 | 118643 | 114123 | 203007 | 316 | 174 | Lum
| H | 129 | 366 | 385 | 1199 | 614 | 371 | 562 | 831 | 949 | 770 | 408 | 565 | Lum
|  | 617.5 | 210239.75 | 107214.5 |  | 209622.25 | 106597
|  |  | 20424.5 | 14951.5 |  | 19807 | 14334
|  |  | 96495.25 | 59602.5 |  | 95877.75 | 58985 | 1 | 1
|  |  | 113381.25 | 67000 |  | 112763.75 | 66382.5 | 1.1761 | 1.1254
|  |  | 84038 | 85773 |  | 83420.5 | 85155.5 | 0.87007 | 1.4437
|  |  | 225135.25 | 145074.5 |  | 224517.75 | 144457 | 2.3417 | 2.449