## Plate 7 - Sheet1
Software Version | 3.10.06
Experiment File Path: | C:\Users\Lauflab\Desktop\Synergy experiments\lumine_260122_144358.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\lumine.prt
Plate Number | Plate 7
Date | 2026-01-22
Time | 16:30
Reader Type: | Synergy H1
Reader Serial Number: | 2202013B
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 white opaque (Use plate lid)
Eject plate on completion
Shake | Orbital: 0:05 (MM:SS)
Frequency: 282 cpm (3 mm)
Set Temperature | Setpoint 22°C
Read | Luminescence Endpoint
Full Plate
Integration Time: 0:01.00 (MM:SS.ss)
Filter Set 1
Emission: Full light
Optics: Top, Gain: 255
Read Speed: Normal, Delay: 100 msec
Extended Dynamic Range
Read Height: (auto)
Results
Actual Temperature: | 23.4
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1025 | 530 | 672 | 1077 | 1728 | 297 | 191 | 600 | 458 | 50 | 783 | 36 | Lum
| B | 235 | 121790 | 389222 | 407679 | 420251 | 279 | 19520 | 99011 | 128192 | 217439 | 1728 | 308 | Lum
| C | 285 | 18709 | 13562 | 25593 | 38049 | 465 | 17171 | 14076 | 16442 | 27534 | 222 | 309 | Lum
| D | 251 | 94660 | 106744 | 149663 | 137731 | 452 | 86847 | 40062 | 54693 | 63963 | 126 | 289 | Lum
| E | 84 | 153186 | 129884 | 134386 | 79444 | 642 | 66083 | 81264 | 62328 | 93988 | 113 | 446 | Lum
| F | 626 | 109392 | 148138 | 61449 | 179727 | 1734 | 81130 | 63356 | 62570 | 121738 | 862 | 244 | Lum
| G | 907 | 332294 | 305198 | 250380 | 313053 | 889 | 152670 | 151045 | 108647 | 199866 | 947 | 141 | Lum
| H | 831 | 601 | 532 | 621 | 1229 | 586 | 191 | 575 | 472 | 183 | 106 | 138 | Lum
|  |  | 334735.5 | 743.5 | 116040.5 | 333992 | 115297
|  |  | 23978.25 |  | 18805.75 | 23234.75 | 18062.25
|  |  | 122199.5 |  | 61391.25 | 121456 | 60647.75 | 1 | 1
|  |  | 124225 |  | 75915.75 | 123481.5 | 75172.25 | 1.0167 | 1.2395
|  |  | 124676.5 |  | 82198.5 | 123933 | 81455 | 1.0204 | 1.3431
|  |  | 300231.25 |  | 153057 | 299487.75 | 152313.5 | 2.4658 | 2.5114