## Plate 2 - Sheet1
Software Version | 3.10.06
Experiment File Path: | C:\Users\Lauflab\Desktop\Synergy experiments\lumine_260122_173326.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\lumine.prt
Plate Number | Plate 2
Date | 2026-01-22
Time | 17:35
Reader Type: | Synergy H1
Reader Serial Number: | 2202013B
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 white opaque (Use plate lid)
Eject plate on completion
Shake | Orbital: 0:05 (MM:SS)
Frequency: 282 cpm (3 mm)
Set Temperature | Setpoint 22°C
Read | Luminescence Endpoint
Full Plate
Integration Time: 0:01.00 (MM:SS.ss)
Filter Set 1
Emission: Full light
Optics: Top, Gain: 255
Read Speed: Normal, Delay: 100 msec
Extended Dynamic Range
Read Height: (auto)
Results
Actual Temperature: | 22.9
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 440 | 447 | 1434 | 1002 | 1773 | 2554 | 583 | 536 | 417 | 1084 | 719 | 506 | Lum
| B | 1569 | 153355 | 377964 | 274039 | 380727 | 1168 | 13704 | 102980 | 123393 | 205151 | 1816 | 370 | Lum
| C | 285 | 16989 | 16653 | 31956 | 60127 | 1075 | 13926 | 13380 | 14355 | 25781 | 511 | 210 | Lum
| D | 1362 | 107366 | 121066 | 166303 | 134192 | 673 | 66209 | 37343 | 41915 | 65186 | 195 | 359 | Lum
| E | 730 | 151845 | 141098 | 157613 | 95078 | 1256 | 61142 | 66357 | 59431 | 100865 | 1486 | 123 | Lum
| F | 806 | 110728 | 162723 | 68415 | 258018 | 1205 | 61193 | 49862 | 52452 | 112189 | 795 | 646 | Lum
| G | 1164 | 367939 | 367578 | 313619 | 390019 | 1036 | 170029 | 116548 | 121461 | 184447 | 505 | 337 | Lum
| H | 220 | 993 | 1595 | 788 | 1010 | 979 | 238 | 618 | 536 | 502 | 450 | 795 | Lum